## EquipmentRegister
Equipment ID | Equipment Name | Location | Status | Allowed Test Types | Assigned Technicians
P-101 | Cooling Water Pump 1 | Plant A - Utility Room | In Service | Insulation Resistance; Vibration; Pressure Test | khengyee.goh@inferlens.com
P-102 | Cooling Water Pump 2 | Plant A - Utility Room | In Service | Insulation Resistance; Vibration; Pressure Test | khengyee.goh@inferlens.com
P-104 | Fire Water Pump | Plant A - Fire Pump House | In Service | Insulation Resistance; Pressure Test; Flow Rate | khengyee.goh@inferlens.com
M-201 | Conveyor Drive Motor | Plant B - Line 2 | In Service | Insulation Resistance; Vibration; Temperature | you@yourcompany.com
M-202 | Mixer Motor | Plant B - Line 2 | In Service | Insulation Resistance; Vibration; Temperature | you@yourcompany.com; kumar.raj@yourcompany.com
TX-301 | Distribution Transformer 1 | Main Substation | In Service | Insulation Resistance; Temperature; Earth Continuity | siti.noor@yourcompany.com
TX-302 | Distribution Transformer 2 | Main Substation | In Service | Insulation Resistance; Temperature; Earth Continuity | siti.noor@yourcompany.com; kumar.raj@yourcompany.com
PV-401 | Steam Line Pressure Vessel | Boiler House | In Service | Pressure Test; Temperature | kumar.raj@yourcompany.com
PG-501 | Pressure Gauge - Header A | Boiler House | In Service | Calibration Check | you@yourcompany.com
TT-502 | Temperature Transmitter - Tank 3 | Tank Farm | In Service | Calibration Check | you@yourcompany.com; aiman.rahman@yourcompany.com
FM-503 | Flow Meter - Line 1 Inlet | Plant A - Line 1 | In Service | Calibration Check; Flow Rate | you@yourcompany.com
DB-601 | Distribution Board DB-A1 | Plant A - Electrical Room | In Service | Insulation Resistance; Earth Continuity | you@yourcompany.com; siti.noor@yourcompany.com
DB-602 | Distribution Board DB-B1 | Plant B - Electrical Room | In Service | Insulation Resistance; Earth Continuity | aiman.rahman@yourcompany.com
C-701 | Air Compressor 1 | Compressor House | In Service | Pressure Test; Vibration; Temperature | you@yourcompany.com
C-702 | Air Compressor 2 | Compressor House | Out of Service | Pressure Test; Vibration; Temperature | you@yourcompany.com